Protocol for Water Testing

General

Only collect a sample if you have safe access to the water.

Take somebody with you or make sure somebody knows where you are.

Avoid collecting any living organisms.

Try to avoid anything floating on the surface, such as algae, or plant matter.

Don’t tip reagents into the environment; take waste home, where it can be well diluted and disposed of safely.

Wash hands after completing all the tests.

Complete the form and upload results to the Google form via the link provided on the survey form (this will depend on the project you are taking part in).

TDS meter

- Rinse the sample container with the water you are testing, then fill to sufficient depth for the meter.

- Remove the cap and immerse the probe.

- Switch on, leave until the reading steadies to obtain a reading for total dissolved solids.

- Switch to temperature setting and give time to settle before taking a reading.

- It is best to do these tests as soon as you take a sample to give a true reading.

- Record results on the form provided.

Note: the unit is not waterproof – do not immerse above the line of the cap.

Hanna Ammonia Checker

- Rinse the sample container and the glass tubes (cuvettes) with the water you are testing

- Switch on the Hanna checker – it should show C1.

- Fill one of the cuvettes with sample up to the 10 ml mark – the bottom of the meniscus. should sit on the line.

- Replace the cap and ensure the cuvette is dry and free from finger marks.

- Place the cuvette in the Hanna checker and press once – the meter will show flashing marks while it calibrates the sample, before showing C2.

- Add four drops of reagent A to the second cuvette, replace the cap and invert gently to mix.

- Add four drops of reagent B, replace the cap and invert gently to mix.

- Remove cuvette 1 from the Hanna checker and relace with cuvette 2 (containing the water plus reagent).

- Press and hold the button until the countdown of 3:30 appears, then let go.

- After this time a reading will be shown.

- Record result on the form provided (this reading will be later multiplied by 1.214 to give the true reading of ammonia).

- Empty the cuvettes and wash thoroughly.

Notes:

The reagents will produce a yellow colour if ammonia is present. We have found these (expensive) reagents can leak – please ensure the bottles are closed tightly. You should have enough for 25 tests.

Hanna Phosphate Checker

- Rinse the sample container and the glass tubes (cuvettes) with the water you are testing.

- Switch on the Hanna checker – it should show C1.

- Fill one of the cuvettes with sample up to the 10 ml mark – the bottom of the meniscus should sit on the line.

- Replace the cap and ensure the cuvette is dry and free from finger marks.

- Place the cuvette in the Hanna checker and press once – the meter will show flashing marks while it calibrates the sample, before showing C2.

- Carefully cut open the packet of reagent along the lines shown, make a funnel with the packet and tip gently into cuvette 2.

- Replace the cap and invert gently to mix until the powder has dissolved – this can take up to 2 minutes, depending on temperature.

- Remove cuvette 1 from the Hanna checker and relace with cuvette 2 (containing the water plus reagent).

- Press and hold the button until the countdown of 3:00 appears, then let go.

- After this time a reading will be shown.

- Empty the cuvettes and wash thoroughly.

Notes:

Ensure all the powder is used – it tends to stick in the corner of the packet. Take care when adding the powder if it is windy. The reagents will produce a blue colour if phosphates are present.

Turbidity Tube

- Rinse with the water you are testing.

- Fill the tube until you can no longer see the black and white Secchi disk when looking straight down the tube. An alternative method is to fill the tube and tip out water until you can see the Secchi disc.

- Record the height of the water column.

- This can be converted to nephelometric turbidity units (NTUs) using the table below.

| Depth (cm) | Turbidity (NTU) | Depth (cm) | Turbidity (NTU) |
| --- | --- | --- | --- |
| <6.0 | >240 | 31.1 to 34.0 | 21 |
| 6.1 to 7.0 | 240 | 34.1 to 36.0 | 19 |
| 7.1 to 8.0 | 185 | 36.1 to 39.0 | 17 |
| 8.1 to 9.0 | 150 | 39.1 to 41.0 | 15 |
| 9.1 to 10.0 | 120 | 41.1 to 44.0 | 14 |
| 10.1 to 12.0 | 100 | 44.1 to 46.0 | 13 |
| 12.1 to 14.0 | 84 | 46.1 to 49.0 | 12 |
| 14.1 to 16.0 | 60 | 49.1 to 51.0 | 11 |
| 16.1 to 19.0 | 48 | 51.1 to 54.0 | 10 |
| 19.1 to 21.0 | 40 | 54.1 to 57.0 | 9 |
| 21.1 to 24.0 | 35 | 57.1 to 60.0 | 8 |
| 24.1 to 26.0 | 30 | 60.1 to 70.0 | 7 |
| 26.1 to 29.0 | 27 | 70.1 to 85.0 | 6 |
| 29.1 to 31.0 | 24 | >85 | <5 |